## Slide 1: Smart Lighting and Power Monitoring System

## Slide 2: Problem Statement
Inefficient use of lighting leading to energy waste.
Lack of automated systems to adjust lighting based on ambient conditions and occupancy.
Difficulty in monitoring power consumption of lighting systems in real-time.

## Slide 3: Solution
Develop a smart lighting system that adjusts brightness based on ambient light and motion detection.
Implement real-time power consumption monitoring.
Use a user-friendly interface to input and adjust lighting parameters.

## Slide 4: Street Lights
SoDIUM VAPOUR LAMPS
250 W on average.
High power consumption, longer warm-up time, and poor color rendering.
Mercury vapour lamps
Can consume up to 400 W.
Higher power consumption, lower efficiency compared to sodium lamps, and environmental concerns due to mercury content.
Modern LED
Rated at 60 W on average, with 40 W models common in smaller areas.
Less power than vapour lamps.

## Slide 5: How???
Adaptive Brightness: Adjusts LED brightness based on ambient light and motion detection, ensuring optimal illumination and energy savings.
Real-Time Tracking: Monitors energy usage in real-time, helping to optimize lighting schedules and detect inefficiencies.
Cumulative Power Calculation: Tracks cumulative power consumption, providing insights into long-term energy use.
Dynamic Dimming: Reduces power consumption by dimming lights when full brightness is not needed, such as during low traffic periods.
Flexible Implementation: Can be applied to various settings, from small streets to large urban areas.
Reduced Energy Costs: Lower electricity bills due to decreased power consumption.

## Slide 6: Approach Calculate and display power consumption in real-time. Use a microcontroller (Arduino) to control LED brightness based on sensor inputs. Integrate a PIR sensor for motion detection. Monitor light intensity through user input via the serial monitor.

## Slide 7: Hardware Software
Arduino Uno
LEDs
PIR Sensor
ACS712 Current Sensor
Resistors and Connecting Wires
Arduino IDE
Serial Monitor for user input
C++ Programming Language for Arduino

## Slide 8: Future
Integrate wireless communication (e.g., Wi-Fi or Bluetooth) for remote control and monitoring.
Use actual light sensors (e.g., BH1750) for more accurate ambient light measurement.
Develop a mobile or web app for user-friendly interface.
Implement machine learning algorithms for predictive lighting control based on user behavior patterns.